# HealixCare HMS

Lab Workflow

Version 1.0  |  Confidential  |  Grounded in backend/ and frontend/ source  |  Document Owner: Product Management / Clinical Operations

# 1. Purpose

This document describes the Laboratory workflow implemented in backend/modules/lab/ and backend/routers/lab.py (10 endpoints), and frontend Lab.tsx.

# 2. Lab Flow Diagram (Full Detail)

This diagram expands the order-to-result flow into its actual sub-steps, including the test-catalog dependency, the status-tracking states, and the explicit absence of automated critical-value alerting and instrument integration.

Figure 1 — Lab flow, full detail, including confirmed gaps: no instrument integration, no auto-verification, no critical-value alerting.

# 3. Step Detail

| Step | Endpoint(s) | Notes |
| --- | --- | --- |
| Test catalog | GET/POST /api/v1/lab/tests | Master list of available test types |
| Order placement | POST /api/v1/lab/orders | Linked to a consultation/patient |
| Order listing | GET /api/v1/lab/orders | Worklist for lab technicians |
| Status update | PATCH /api/v1/lab/orders/{order_id}/status | Tracks order through processing stages |
| Result entry | PATCH /api/v1/lab/orders/{order_id}/results | Result values recorded against the order |
| Summary stats | GET /api/v1/lab/summary | Aggregate counts for dashboards |

# 4. Roles Involved

- Lab-permissioned custom role or admin: order processing and result entry (role_permissions scoped to the lab module key).

- doctor: order placement, result viewing.

- Patient Portal: result viewing once released.

# 5. Known Gaps

- No critical-value alerting confirmed — abnormal results do not appear to trigger an automatic notification distinct from standard result release.

- No external reference lab order routing or lab-analyzer (LIS-instrument) integration — results are entered manually.

- No auto-verification rules engine — every result requires manual review/entry.

# 6. Relationship to Other Documents

- Builds on: End-to-End Patient Journey, OPD Workflow / IPD Workflow (order origin).

- Feeds into: Billing and Payment Workflow (lab charges).

# 7. Document Control

| Field | Value |
| --- | --- |
| Document Owner | Clinical Operations |
| Status | Draft v1.0 — grounded in backend/modules/lab/, routers/lab.py |
| Previous Document | Emergency Workflow |
| Next Document | Radiology Workflow |